## Setup
1.) Input Template, Dye, aTF and ligand stock concentrations. Add desired amounts per reaction for template, Dye and aTF. (Ligand is done below).
| DNA Template |  | Dye |  | aTF |  | Ligand
Name | T7-3WJdB-T |  | DFHBI-1T |  | TetR dimer |  | aTc
Stock Concentration | 0.5 | µM | 40 | mM | 210 | µM | 50 | µM
Amount per reaction | 0.5 | pmol | 45 | nmol | 25 | pmol | XXX | pmol
Volume per reaction | 1 | µL | 1.125 | µL | 0.11905 | µL | XXX | µL
2.) Prepare a mastermix by mixing the following components at room temperature.
Homemade Transcription Kit Mastermix |  |  |  |  | Manufacturer
Transcription component | Volume (µL) for 1 rxn |  | Volume (µL) for 5 rxn
10X ROSALIND buffer | 2 |  | 10 |  | Homemade (20 mM Spermidine, 400 mM Tris-HCl pH 8, 80 mM MgCl2, 100 mM DTT, 200 mM NaCl)
100 mM ATP | 0.57143 |  | 2.8571 |  | Homemade Tris-buffered NTPs pH 7.5
100 mM CTP | 0.57143 |  | 2.8571
100 mM GTP | 0.57143 |  | 2.8571
100 mM UTP | 0.57143 |  | 2.8571
0.3 U TIPP | 0.15 |  | 0.75 |  | NEB (#M0296S)
DFHBI-1T | 1.125 |  | 5.625 |  | Tocris Bioscience (#5610)
DNA Template | 1 |  | 5
aTF | 0.11905 |  | 0.59524
Laboratory-grade H2O to 15 µL | 8.3202 |  | 41.6012
Total Volume | 15 |  | 75
3.) For each desired reaction, aliquot 15 µL of incubated mastermix in each reaction tube.
4.) Incubate the aliquoted mastermix at 37° C for 15 min to allow aTF:DNA equillibration.
5.) Meanwhile prepare 1:10 dilution of T7 RNAP stock (stock concentration: 1 µg/µL).
6.) For each desired reaction, add ligand, diluted T7 RNAP, and remaining water according to the table below. (Modify the table according to
your experiment design.) Add these components immediately before transferring to a plate reader for measurement.
Ligand Concentrations (pmol) | Volume of Ligand (µL) |  | Volume of diluted T7 RNAP (µL) |  | Volume of H2O (µL)
0 | 0 |  | 2 |  | 3
25 | 0.5 |  | 2 |  | 2.5
50 | 1 |  | 2 |  | 2
100 | 2 |  | 2 |  | 1